Central Coast Council

PFAS Monitoring Results

## August 2024 - August 2025

# Treated Water

\* N/D = Nil Detection in the analysis, noting that the detection limit is <0.001ug/L

\*\* Units are in micrograms per litre

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **Site** | **Month** | **PFAS Substance** | **Notes** |
| Mannering Park | 20/6/2024 | N/D |  |
| Chain Valley Bay | 20/6/2024 | N/D |  |
| Gwandalan | 20/6/2024 | N/D |  |
| Summerland Point | 20/6/2024 | N/D |  |
| Crangan Bay | 20/6/2024 | N/D |  |
| Budgewoi | 20/6/2024 | N/D |  |
| Magenta | 20/6/2024 | N/D |  |
| Terrigal | 20/6/2024 | N/D |  |
| MacMasters Beach | 20/6/2024 | N/D |  |
| Somersby | 20/6/2024 | N/D |  |
| Mardi | 20/6/2024 | PFHxS (0.001)PFOA (0.001) | Detection below both current and proposed Australian Drinking Water Guidelines |
| Tuggerah | 20/6/2024 | N/D |  |
| Kanwal | 20/6/2024 | PFOA (0.001) | Detection below both current and proposed Australian Drinking Water Guidelines |
| Woongarrah | 26/9/2024 | N/D |  |
| Wyongah | 26/9/2024 | N/D |  |
| Kanwal | 26/9/2024 | N/D |  |
| Wyong | 26/9/2024 | N/D |  |
| Mardi | 26/9/2024 | N/D |  |
| Avoca Beach | 26/9/2024 | N/D |  |
| Wamberal | 26/9/2024 | N/D |  |
| Copacabana | 26/9/2024 | N/D |  |
| MacMasters Beach | 26/9/2024 | N/D |  |
| Somersby | 26/9/2024 | N/D |  |
| Hamlyn Terrace | 2/12/2024 | N/D |  |
| Budgewoi | 2/12/2024 | N/D |  |
| Blue Haven | 2/12/2024 | N/D |  |
| Lake Haven | 2/12/2024 | N/D |  |
| Lisarow | 2/12/2024 | N/D |  |
| Narara | 2/12/2024 | N/D |  |
| Wyoming | 2/12/2024 | N/D |  |
| Erina | 2/12/2024 | N/D |  |
| Somersby | 2/12/2024 | N/D |  |
| Mardi | 2/12/2024 | N/D |  |
| Mardi | 13/02/2025 | N/D |  |
| Wyong | 13/02/2025 | N/D |  |
| Gosford | 13/02/2025 | N/D |  |
| Jilliby | 13/02/2025 | N/D |  |
| Kariong | 13/02/2025 | N/D |  |
| Mardi | 13/02/2025 | N/D |  |
| Ourimbah | 13/02/2025 | PFBS (0.001)PFHxS (0.003) | Detection below Australian Drinking Water Guidelines |
| Tumbi Umbi | 13/02/2025 | N/D |  |
| Niagara Park | 13/02/2025 | N/D |  |
| Wyoming | 13/02/2025 | N/D |  |
| Mardi | 13/02/2025 | N/D |  |
| Somersby | 13/02/2025 | N/D |  |
| Somersby | 24/02/2025 | N/D |  |
| Terrigal | 22/05/2025 | N/D |  |
| Wamberal | 22/05/2025 | N/D |  |
| Forresters Beach | 22/05/2025 | N/D |  |
| Green Point | 22/05/2025 | PFHxS (0.001) | Detection below Australian Drinking Water Guidelines |
| Lisarow | 22/05/2025 | N/D |  |
| Point Clare | 22/05/2025 | N/D |  |
| Mardi | 22/05/2025 | N/D |  |
| Lake Munmorah | 22/05/2025 | N/D |  |
| Buff Point | 22/05/2025 | N/D |  |
| Toukley | 22/05/2025 | N/D |  |
| Tumbi Umbi | 22/05/2025 | N/D |  |
| Bateau Bay | 22/05/2025 | N/D |  |
| Killarney Vale | 22/05/2025 | N/D |  |
| The Entrance North | 07/08/2025 | N/D |  |
| The Entrance | 07/08/2025 | N/D |  |
| Long Jetty | 07/08/2025 | N/D |  |
| Bateau Bay | 07/08/2025 | N/D |  |
| Bateau Bay | 07/08/2025 | N/D |  |
| Berkley Vale | 07/08/2025 | N/D |  |
| Ourimbah | 07/08/2025 | N/D |  |
| Jilliby | 07/08/2025 | N/D |  |
| MacMasters Beach | 07/08/2025 | N/D |  |
| Copacabana | 07/08/2025 | N/D |  |
| Bensville | 07/08/2025 | N/D |  |
| Saratoga | 07/08/2025 | N/D |  |
| Green Point | 07/08/2025 | N/D |  |
| Springfield | 07/08/2025 | N/D |  |
| East Gosford | 07/08/2025 | N/D |  |
| Terrigal | 07/08/2025 | N/D |  |