Central Coast Council

PFAS Monitoring Results

## August 2024 - September 2025

# Upper Mooney Dam Catchment

* N/D = Nil Detection in the analysis, noting that the detection limit is <0.001ug/L

** Units are in micrograms per litre

| Site | Month | PFAS Substance | Notes |
| --- | --- | --- | --- |
| Mooney Dam | 17 December 2024 | N/D |  |
| Mooney Dam | 18 February 2025 | N/D |  |
| Robinson Creek Arm |  | N/D |  |
| Little Mooney Mooney |  | N/D |  |
| Mooney Mooney Creek |  | N/D |  |
| Link Road |  | N/D |  |
| Mooney Dam | 6 May 2025 | PFOS 0.001 | Detected below the Australian Drinking Water Guidelines |
| Mooney Dam Tower | 12 August 2025 | N/D |  |