## ESdat Export Info
ESdat Data Info Data Source: LChem1_Chemistry Project: 754-SYDEN227300 Filter: Where(Site_ID = 'Woy Woy' AND Sampled_Date_Time > '21 Jan 2022 12:00:00' ) Summarise: Off Export Date/Time: 09-Jun-22 1:11:20 PM Export By: TT\DAVID.MCFADDEN The following exported Locations are not Accepted: W_CORREA, W_PATONGA, W_S01, W_S02, W_S03, W_S05, W_S07, W_S08, W_WW1, W_WW2, W_WW3, W_WW6, W_WW7 The following exported Lab Reports are not Accepted: ALSE-Sydney¦ES2213182, ALSE-Sydney¦ES2213183, ALSE-Sydney¦ES2218615 Chem Profile: 227300_Water_Chem_Profile

## SampleSummary
Site_ID | Location_Code | Field_ID | Sampled_Date_Time | Lab_Report_Number | _Loc_Code | _Well | _Env_Stds_Conditional_Matrix_Type | _Sample_Type | _Sample_Depth_Avg
Woy Woy | W_CORREA | W_CORREA_140422 | 2022-04-14 12:10 | ES2213183 | W_CORREA |  |  | Normal
Woy Woy | W_CORREA | W_Correa_270522 | 2022-05-26 11:31 | ES2218615 | W_CORREA |  |  | Normal
Woy Woy | W_PATONGA | W_PATONGA_140422 | 2022-04-14 10:22 | ES2213183 | W_PATONGA |  |  | Normal
Woy Woy | W_PATONGA | W_Patonga_270522 | 2022-05-27 13:09 | ES2218615 | W_PATONGA |  |  | Normal
Woy Woy | W_S01 | W_S01_140422 | 2022-04-14 11:00 | ES2213182 | W_S01 |  |  | Normal
Woy Woy | W_S02 | W_S02_140422 | 2022-04-14 10:50 | ES2213182 | W_S02 |  |  | Normal
Woy Woy | W_S03 | W_S03_140422 | 2022-04-14 09:30 | ES2213182 | W_S03 |  |  | Normal
Woy Woy | W_S05 | W_DUP_140422 | 2022-04-14 09:10 | ES2213182 | W_S05 |  |  | Field_D
Woy Woy | W_S05 | W_S05_140422 | 2022-04-14 08:50 | ES2213182 | W_S05 |  |  | Normal
Woy Woy | W_S07 | W_S07_140422 | 2022-04-14 11:50 | ES2213182 | W_S07 |  |  | Normal
Woy Woy | W_S08 | W_S08_140422 | 2022-04-14 12:00 | ES2213182 | W_S08 |  |  | Normal
Woy Woy | W_WW1 | W_WW1_140422 | 2022-04-14 08:36 | ES2213182 | W_WW1 |  |  | Normal | 1.27
Woy Woy | W_WW2 | W_WW2_140422 | 2022-04-14 11:35 | ES2213182 | W_WW2 |  |  | Normal | 1.48
Woy Woy | W_WW3 | W_WW3_140422 | 2022-04-14 10:02 | ES2213182 | W_WW3 |  |  | Normal | 1.74
Woy Woy | W_WW6 | W_WW6A_140422 | 2022-04-14 10:32 | ES2213182 | W_WW6 |  |  | Normal | 5.85
Woy Woy | W_WW7 | W_WW7_140422 | 2022-04-14 09:09 | ES2213182 | W_WW7 |  |  | Normal

## Enviro Limits
ActionLevelSource | ChemCode | ChemName | Location_Code | Well | Action_Level | Action_Level_Min | Comments | Conditional_Matrix_Type | Conditional_Depth_From | Conditional_Depth_To | ActionLevel_Prefix | ActionLevel_Suffix | Conditional_ChemCode1 | Conditional_ChemName1 | Conditional_ChemCode1_Units | Conditional_ChemCode1_Value_Min | Conditional_ChemCode1_Min_Value_Prefix | Conditional_ChemCode1_Value_Max | Conditional_ChemCode1_Max_Value_Prefix | Conditional_ChemCode2 | Conditional_ChemName2 | Conditional_ChemCode2_Units | Conditional_ChemCode2_Value_Min | Conditional_ChemCode2_Min_Value_Prefix | Conditional_ChemCode2_Value_Max | Conditional_ChemCode2_Max_Value_Prefix | Applies_To_Total_Result | Applies_To_Filtered_Result | LimitsID

## Chemistry Output Table
[5 empty] | Field | [5 empty] | Inorganics | [11 empty] | Metals |  |  | Physical Parameters |  | Landfill Gas
[5 empty] | Depth to groundwater (measured) | DO (Field) | Electrical Conductivity (Non Compensated) | pH (Field) | Redox Potential (Field) | Temp (Field) | Ammonia as N | Alkalinity (Hydroxide) as CaCO3 | Alkalinity (total) as CaCO3 | BOD | Carbonate Alkalinity as CaCO3 | Chloride | Alkalinity (Bicarbonate as CaCO3) | Anions Total | Cations Total | Ionic Balance | TOC | Sodium (Filtered) | Calcium (Filtered) | Magnesium (Filtered) | Potassium (Filtered) | Total Dissolved Solids @180°C | TSS | Methane | Methane
[5 empty] | m | mg/L | µS/cm | - | mV | oC | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | % | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | %v/v | ppm
EQL | [10 empty] | 0.01 | 1 | 1 | 2 | 1 | 1 | 1 | 0.01 | 0.01 | 0.01 | 1 | 1 | 1 | 1 | 1 | 10 | 5 | 0.1 | 1
Site_ID | Location_Code | Field_ID | Sampled_Date_Time | Lab_Report_Number
Woy Woy | W_S01 | W_S01_140422 | 2022-04-14 11:00 | ES2213182 | - | 6.24 | 69.7 | 4.68 | 208.5 | 17.8 | <0.01 | - | - | <2 | - | - | - | - | - | - | 8 | - | - | - | - | - | <5 | - | -
Woy Woy | W_S02 | W_S02_140422 | 2022-04-14 10:50 | ES2213182 | - | 7.41 | 88.4 | 4.78 | 224.1 | 18.6 | <0.01 | - | - | <2 | - | - | - | - | - | - | 8 | - | - | - | - | - | 35 | - | -
Woy Woy | W_S03 | W_S03_140422 | 2022-04-14 09:30 | ES2213182 | - | 4.31 | 132.8 | 6.43 | 53.1 | 19.8 | 0.19 | - | - | 4 | - | - | - | - | - | - | 6 | - | - | - | - | - | 89 | - | -
Woy Woy | W_S05 | W_S05_140422 | 2022-04-14 08:50 | ES2213182 | - | 7.76 | 208 | 6.9 | 43.2 | 19.2 | 0.42 | - | - | 2 | - | - | - | - | - | - | 6 | - | - | - | - | - | 137 | - | -
Woy Woy | W_S07 | W_S07_140422 | 2022-04-14 11:50 | ES2213182 | - | 8.4 | 36.2 | 4.69 | 162.7 | 19.8 | 0.01 | - | - | 2 | - | - | - | - | - | - | 13 | - | - | - | - | - | <5 | - | -
Woy Woy | W_S08 | W_S08_140422 | 2022-04-14 12:00 | ES2213182 | - | 9.11 | 132.7 | 5.92 | 77.8 | 19.4 | 0.02 | - | - | <2 | - | - | - | - | - | - | 13 | - | - | - | - | - | 14 | - | -
Woy Woy | W_WW1 | W_WW1_140422 | 2022-04-14 08:36 | ES2213182 | 1.27 | 0.18 | 327 | 5.85 | 77.8 | 21.3 | <0.01 | <1 | 96 | - | <1 | 25 | 96 | 3.12 | 2.98 | 2.32 | 5 | 26 | 24 | 7 | 3 | 216 | - | - | -
Woy Woy | W_WW2 | W_WW2_140422 | 2022-04-14 11:35 | ES2213182 | 1.48 | 0.2 | 265 | 4.65 | 80.3 | 19.8 | <0.01 | <1 | 16 | - | <1 | 74 | 16 | 2.55 | 2.32 | - | <1 | 39 | 1 | 7 | <1 | 147 | - | - | -
Woy Woy | W_WW3 | W_WW3_140422 | 2022-04-14 10:02 | ES2213182 | 1.74 | 0.73 | 434 | 5.15 | 92.1 | 19 | 0.03 | <1 | 59 | - | <1 | 90 | 59 | 4.65 | 4.61 | 0.48 | 3 | 68 | 9 | 14 | 2 | 319 | - | - | -
Woy Woy | W_WW6 | W_WW6A_140422 | 2022-04-14 10:32 | ES2213182 | 5.85 | 0.64 | 533 | 3.33 | 287.9 | 19.6 | 0.05 | <1 | <1 | - | <1 | 156 | <1 | 4.92 | 4.14 | 8.62 | 9 | 70 | <1 | 13 | 1 | 268 | - | - | -
Woy Woy | W_WW7 | W_WW7_140422 | 2022-04-14 09:09 | ES2213182 | - | - | - | - | - | - | <0.01 | <1 | 6 | - | <1 | 114 | 6 | 4.4 | 3.85 | 6.61 | 3 | 73 | 1 | 7 | 2 | 330 | - | - | -
Woy Woy | W_WW1 |  | 2022-04-20 | [24 empty] | 0 | -
Woy Woy | W_WW2 |  | 2022-04-20 | [24 empty] | 0 | -
Woy Woy | W_WW3 |  | 2022-04-20 | [24 empty] | 0 | -
Woy Woy | W_WW6 |  | 2022-04-20 | [24 empty] | 0 | -
Woy Woy | W_WW7 |  | 2022-04-20 | [24 empty] | 0 | -
Woy Woy | Lunch Room |  | 2022-04-20 | [24 empty] | - | <5*
Woy Woy | Maintenance Shed |  | 2022-04-20 | [24 empty] | - | <5*
Woy Woy | Weighbridge Office |  | 2022-04-20 | [24 empty] | - | <5*
Woy Woy | Traverse 1 |  | 2022-04-20 | [24 empty] | - | 470,000*
Woy Woy | Traverse 2 |  | 2022-04-20 | [24 empty] | - | 38,000*
Woy Woy | Traverse 3 |  | 2022-04-20 | [24 empty] | - | 6,600*
Woy Woy | Traverse 4 |  | 2022-04-20 | [24 empty] | - | 5,100*
Woy Woy | Traverse 5 |  | 2022-04-20 | [24 empty] | - | <5*
Notes: * denotes maximum concentration recorded
- denotes not tested
Note on A1: ESdat Export